## Sheet2
New Arrival
产品特点
600W series High power density
AC-DC power supply
● 标准5*3英寸，薄型设计(1U 37mm/41mm)
Standard 5x3 inches,slim design
● 高转换效率 （95%）
High effeciency up to 95%
● EMC 符合ClassB 等级
EMC meet ClassB
● 高功率密度，设计紧凑
High power density,small size
● 平台化设计，快速定制 （200W,300W,450W,600W,700W）
Platform design, fast customization to 200W,300W,450W,600W,700W
● 输出电压覆盖DC24V、DC36V、DC48V
● 设计满足安规标准：IEC60601- 1 第三版，2xMOPP---医疗
IEC 62368-1,EN62368-1,UL62368-1
● 可应用于工业、医疗领域
Used in industry and medical field
Specifications
Model
输入 Input
输入电压 Input voltage range | 90 - 264VAC
输入频率 Input frequency | 50/60 Hz
功率因数(典型) Power factor (Typical) | 0.98 / 115VAC; 0.95 / 230VAC
待机功率 No load power consumption | ＜0.5W at 230VAC
效率(典型) Efficiency (Typical) | 95%/230VAC
传导和辐射 Conducted & Radiated EMI | EN55032/EN55011-B
安全认证 Safety certifications | IEC62368-1:2018 EN IEC 62368-1:2024 UL62368-1 & CAN/CSA C22.2 No. 62368-1 CE LVD & EMC
输出 Output
额定功率 Rated power | 600W with fan / 200W no fan
纹波噪声 Ripple & noise | 1%,Vpk-pk, 20 MHz bandwidth
输出电压 Output voltage | 24VDC/36VDC/48VDC
输出过压保护 Over-voltage protection | 115-135% Vnom Self-locking, recycle input to reset 自锁，断开输入复位
输出过流保护 Over-current protection | ≥105%，Hiccup mode,automatic recovery
过温保护 Over temperature protection | 温度过高，电源关机。温度正常后，自恢复。 Triggered overtemperature protection:shutdown. Recover until temperature turns to normal
|  | Derating curve 降额曲线 |  |  | 外形尺寸：
Short circuit protection 短路保 | Continuous trip and restart(hiccup mode) 连续跳闸和重启(打嗝模式)
远程开关 Remote ON/OFF | Opto-isolated,inhibit:Low=ON,High=OFF
Environmental
工作温度 Operating temperature | —20℃ to 70℃
贮存温度 Storage temperature | —40℃ to 85℃
Other
外形尺寸 Dimension | 127X76.2X37mm
RoHS/REACH requirement | Compliance to RoHS/REACH |  |  |  | 产品系列：
■ 天津光电惠高电子有限公司
地址：天津市河西区泰山路六号
邮编：300211
电话：022-28250366
网址：www.huigao-magnetics.com
电子邮箱：shichao@huigao-magnetics.com
ISO9001, ISO14001, ISO13485, IATF 16949 certified

## Sheet1
Model | Input Voltage | Output Voltage | Output Current | MAX Power
型号 | 输入电压 | 输出电压 | 输出电流 | 最大输出功率
B600A24S | AC90V~264V | 24V | 8.3A | 200W
M600A24S |  |  | 25.0A | 600W
B600A36S |  | 36V | 5.6A | 200W
M600A36S |  |  | 16.7A | 600W
B600A48S |  | 48V | 4.2A | 200W
M600A48S |  |  | 12.5A | 600W
B200A24S |  | 24V | 4.2A | 200W
B200A24S |  |  | 8.3A | 600W
B200A36S |  | 36V | 2.8A | 200W
B200A36S |  |  | 5.6A | 600W
B200A48S |  | 48V | 2.1A | 200W
B200A48S |  |  | 4.2A | 600W